## Scope
Datacenter Audit
S.No. | Scope of work
1 | Datacenter Cooling
2 | Humidity Control
3 | Fire Alarm
4 | Smoke Detectors / Fire extinguisher
5 | Water Leakage System
6 | Rodent Control
7 | Surveillance System
8 | UPS
9 | Generator Set
10 | Power Sources
11 | Datacenter Monitoring
12 | Network and security Architecture
13 | DR Infrastructure
14 | Related policies & procedure.
Audited By: |  | Audit Date:
Submitted On:

## Checklist
S.No. | Observations | Remarks
1 | Policies & Procedure
Have datacenter operating policies and procedures been written?
Are they sufficiently descriptive in detail to guide the organization and operation?
Do data center personnel aware to the policies and procedures?
Are they kept up-to-date?
2 | Personnel
Are data control center personnel and operators' assignments rotated?
Is an operating log maintained to record any significant events and action taken by the operator?
Is the operator log inspected daily by management?
3 | Incident handling
Do the datacenter operators know exactly what to do when the different types of disaster occur?
Do the other personnel know exactly what to do when disasters such as fire emergencies occur?
4 | Fire Alarm
Are the fire alarm pull boxes and emergency power switches clearly visible and unobstructed?
Are clear and adequate fire instructions posted in all locations?
Are there enough fire alarm pull boxes in the datacenter area?
Are the operators trained periodically in fire fighting?
Are the operators assigned individual responsibilities in case of fire?
How frequently are fire drills held if any?
Are there any SLA / AMC maintained for the equipment?
5 | Smoke Detectors / Fire extinguisher
Are the smoke detectors used branded and adequately placed?
Whether FM200 is in place? If yes then type of FM200 being used.
Are there any SLA / AMC maintained for the equipment?
6 | Air Conditioner
What is the current temperature of the data center?
Type of Air Conditioner used?
Capacity of the Air Conditioner?
Is the power of Air Conditioner separated from main building power?
How frequently the Air Conditioner checked / serviced?
Whether the Air Conditioner is sufficient for cooling the datacenter?
Are there any redundancies measurement taken on failures of primary cooling solution!
Are there any SLA / AMC maintained for the equipment?
7 | Environment Control
Is there any electrical wiring and cable management being maintained?
Is the current capacity of power sufficient for the datacenter?
Is there any backup in-case of primary source failure?
Are there any combustible goods stored in and around the datacenter!
Are there any water / liquid good located in and around the datacenter!
How data center protected? Secure ID? Finger print? Lock?
Are there any SLA / AMC maintained for the equipments?
8 | Water Leakage System
Are there any system installed? If yes, type of system installed?
Is it sufficient for the current infrastructure?
Are there any SLA / AMC maintained for the equipments?
9 | UPS
Type / brand of UPS being used.
Capacity of the UPS.
Backup time for UPS? Is it sufficient?
Is there any redundancy maintained for the UPS in-case of failure.
Is the UPS powered by two different sources?
Are there any mock tests carried out for UPS?
Are there any SLA / AMC maintained for the equipments?
10 | Generator Set
Type of Genset used?
Capacity of Genset? Is it sufficient for the current infrastructure?
Does it have auto start functionality?
Are there any SLA / AMC maintained for the equipments?
11 | Power
Does the data center have dual inputs from power vendors?
Future space for expansion in Power, Cooling and Space?
12 | Rack Used
What is the rack make / model?
What is the rack capacity in kW?
Whether the spacing is maintained in between or are they covered with blanking panels?
Type of PDU's used? Future scalability of capacity available?
13 | Rodent Control
Whether Rodent control systems are in place?
Whether AMC / SLA's maintained for the rodent control system?
14 | Surveillance System
Positioning of installed cameras are adequate?
Model / Type of camera? (Fixed or panning)
Whether the cameras are monitored, how is the backup maintained / period and who reviews them?
Whether AMC / SLA's maintained for the surveillance system?
15 | Maintenance
UPS / batteries
Fire detection and suppression systems
Genset
16 | Network Architecture
Network diagram
Redundancy on the network, firewall and WAN links
17 | Humidity Control
Whether AMC / SLA's maintained for the humidity control system?
18 | Backup Procedures
Whether any process of Offsite and Onsite backup arrangements followed?
19 | DR Site
DR Site is available? Whether any due diligence of replication process is maintained and verified?
20 | Location of Datacenter
Could floods impact the operations, i.e. is the generator in the basement or is the data center in the basement?
21 | Load Bearing Capacity
Existing Buildings load bearing capacity per sqm. For the datacenter